## Inputs
LCOE CALCULATOR — INPUTS
Parameter | Value | Unit | Notes
A. SYSTEM CONFIGURATION
System Capacity (DC STC) | 1 | kWp | Total installed DC capacity
Specific Yield | 1883 | kWh/kWp/yr | From energy simulation (PVsyst)
Annual Energy Production (E₀) |  | kWh/yr
Performance Ratio (PR) | 82.53 | % | System efficiency ratio
Rated AC Power | 8.754 | kWac | Inverter nameplate capacity
DC/AC Ratio | 1.14 | — | Inverter loading ratio
Module Power | 605 | Wp | Per-module rated power (STC)
B. DEGRADATION & TEMPORAL
First-Year Factor (f₁) | 0.975 | — | Initial production factor (soiling, LID)
Linear Degradation Rate (d) | 0.0042 | /yr | Annual output decline (0.42 %/yr default)
Project Lifetime (n) | 25 | years | Bankable system design lifetime
C. FINANCIAL PARAMETERS
Discount Rate / WACC (r) | 5 | % | Weighted average cost of capital
O&M Cost | 12 | $/kWp/yr | Annual operation & maintenance
Tariff / PPA Rate | 0.09 | $/kWh | Energy sale price (constant)
D. LCOE RATING THRESHOLDS
Excellent — max LCOE | 0.034 | $/kWh | LCOE below this threshold = Excellent
Low — min LCOE | 0.045 | $/kWh | LCOE above this threshold = Low (Acceptable in between)
Colour legend: Blue = hardcoded input (change freely) ¦ Black = formula (do not edit) ¦ Green = cross-sheet link

## CAPEX
CAPITAL EXPENDITURE (CAPEX) BREAKDOWN
Item | Notes | $/kWp | Total ($) | % of Total
Module & Inverter Hardware
Modules |  | 200
Inverters |  | 80
Module & Inverter Hardware — Subtotal
Balance of System (BOS)
Racking & Mounting |  | 100
Grid Connection |  | 40
Cabling / Wiring |  | 40
Safety & Security |  | 7.6
Monitoring & Control |  | 3.2
Balance of System (BOS) — Subtotal
Installation
Mechanical Installation |  | 60
Electrical Installation |  | 56.9
Inspection |  | 8.2
Installation — Subtotal
Soft Costs
Margin |  | 47
Financing Costs |  | 3.4
System Design |  | 8.7
Permitting |  | 12.9
Incentive Application |  | 10.9
Customer Acquisition |  | 3.5
Soft Costs — Subtotal
GRAND TOTAL — $/kWp |  |  |  | 100%
Note: Blue cells ($/kWp) are editable. Total ($) = $/kWp × System Capacity (Inputs!B4). Default total = 682.3 $/kWp.

## Schedule
ANNUAL ENERGY PRODUCTION & CASH FLOW SCHEDULE
Year | Deg. Factor (%) | Energy (MWh) | [LCOE] Disc. Energy (kWh) | [LCOE] Disc. O&M ($) | Revenue (undiscounted $) | [CF] Disc. Revenue ($) | [CF] Disc. CAPEX ($) | [CF] Disc. O&M ($) | [CF] Disc. Net CF ($) | [CF] Cumulative Disc. CF ($) | Active (≤ Lifetime)
1
2 | [6 empty] | 0
3 | [6 empty] | 0
4 | [6 empty] | 0
5 | [6 empty] | 0
6 | [6 empty] | 0
7 | [6 empty] | 0
8 | [6 empty] | 0
9 | [6 empty] | 0
10 | [6 empty] | 0
11 | [6 empty] | 0
12 | [6 empty] | 0
13 | [6 empty] | 0
14 | [6 empty] | 0
15 | [6 empty] | 0
16 | [6 empty] | 0
17 | [6 empty] | 0
18 | [6 empty] | 0
19 | [6 empty] | 0
20 | [6 empty] | 0
21 | [6 empty] | 0
22 | [6 empty] | 0
23 | [6 empty] | 0
24 | [6 empty] | 0
25 | [6 empty] | 0
26 | [6 empty] | 0
27 | [6 empty] | 0
28 | [6 empty] | 0
29 | [6 empty] | 0
30 | [6 empty] | 0
31 | [6 empty] | 0
32 | [6 empty] | 0
33 | [6 empty] | 0
34 | [6 empty] | 0
35 | [6 empty] | 0
36 | [6 empty] | 0
37 | [6 empty] | 0
38 | [6 empty] | 0
39 | [6 empty] | 0
40 | [6 empty] | 0
TOTALS | [6 empty] | — | — | — | —

## Results
LCOE RESULTS — KEY PERFORMANCE INDICATORS
Metric | Value | Unit | Description
PRIMARY OUTPUT — LEVELIZED COST OF ENERGY (LCOE)
LCOE |  | $/kWh | Discounted lifetime cost divided by discounted lifetime energy
LCOE ($/MWh) |  | $/MWh | LCOE × 1 000
LCOE Rating |  | — | Excellent < 0.034 $/kWh ¦ Acceptable ≤ 0.045 ¦ Low > 0.045
CAPITAL EXPENDITURE
Total CAPEX ($) |  | $ | Upfront capital expenditure
CAPEX per kWp ($/kWp) |  | $/kWp | Specific capital cost
ENERGY PRODUCTION
Capacity Factor (%) |  | % | Annual energy / (Capacity × 8 760 h)
Lifetime Energy Production |  | MWh | Total energy over project lifetime (incl. degradation)
O&M NPV (Σ Discounted O&M) |  | $ | Net present value of all annual O&M costs
FINANCIAL INDICATORS
Year-1 Revenue ($) |  | $ | E₀ × f₁ × tariff (first year, undiscounted)
Annual O&M Cost ($/yr) |  | $/yr | O&M ($/kWp/yr) × system capacity
Simple Payback Period |  | years | CAPEX / (Year-1 Revenue − O&M) — undiscounted
Discounted Payback (TRI) |  | years | Year when cumulative discounted cash flow crosses zero
Project NPV (at WACC) |  | $ | Cumulative discounted CF at end of project lifetime
Project IRR |  | % | Internal rate of return on undiscounted net cash flows
CAPEX BREAKDOWN BY CATEGORY
Category | $/kWp | Total ($) | % of CAPEX
Module & Inverter Hardware
Balance of System (BOS)
Installation
Soft Costs
IRR helper — do not edit

## Sensitivity
SENSITIVITY ANALYSIS — TORNADO (±20 % parameter variation)
Parameter | Base LCOE ($/kWh) | LCOE at −20% ($/kWh) | LCOE at +20% ($/kWh) | Low Impact ($/kWh) | High Impact ($/kWh) | Swing ($/kWh)
CAPEX Components
Discount Rate (WACC)
Annual Energy
O&M Cost
Project Lifetime
Degradation Rate
Tariff / PPA ← does not affect LCOE |  |  |  | 0 | 0 | 0
Each row varies ONE parameter by ±20 % while holding all others at base values. Swing = ¦LCOE(+20%) − LCOE(−20%)¦. Tariff/PPA does not enter the LCOE formula (only IRR & NPV are tariff-sensitive).